This document is intended as a suggested guide for creating, modifying, or editing your CSI Formatted 3-Part Architectural Guide Specifications.

Johnsonite will not be liable for any damages arising out of the use of any information or specifications found in this document.

Ensure that you have the latest publication for this specification.

The specifier or designer is responsible for product selection and accuracy of all project specifications, including any Johnsonite information or specifications used.

GENERAL

RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

SUMMARY

Section Includes:

Resilient Rubber Tile Flooring.

SUBMITTALS

Product Data:  For each type of product indicated.

LEED Submittals:

Product Data for Credit EQ 4.1:  For adhesives, include printed statement of VOC content and chemical components.

Samples for Initial Selection:  For each type of product indicated.

Samples for Verification:  For each type of product indicated, in manufacturer's standard-size samples of each resilient product color, texture, and pattern required.

Product Schedule:  For resilient products. Use same designations indicated on Drawings.

QUALITY ASSURANCE

Mockups:  Provide resilient products with mockups specified in other Sections.

DELIVERY, STORAGE, AND HANDLING

Store resilient products and installation materials in dry spaces protected from the weather, with ambient temperatures maintained within range recommended by Johnsonite, but not less than 55 deg F (13 deg C) or more than 85 deg F (29 deg C).

PROJECT CONDITIONS

Install resilient products after other finishing operations, including painting, have been completed.

Maintain ambient temperatures within range recommended by Johnsonite, but not less than 65 deg F (18 deg C) or more than 85 deg F (29 deg C) in spaces to receive resilient products during the following time periods:

48 hours before installation.

During installation.

48 hours after installation.

Maintain the ambient relative humidity between 40% and 60% during installation.

Until Substantial Completion, maintain ambient temperatures within range recommended by Johnsonite, but not less than 55 deg F (13 deg C) or more than 85 deg F (29 deg C).

PRODUCTS

RESILIENT TILE FLOORING

| Manufacturer: |  |  |
| --- | --- | --- |
| Johnsonite, Inc. | Phone: | (800) 899-8916 |
| 30000 Aurora Road |  | (440) 543-8916 |
| Solon, Ohio 44139 | Tech: | Ext 9297 |
| Web: www.tarkettna.com | Samples: | Ext 9299 |
| E-mail: info@johnsonite.com | Fax: | (440) 543-8920 |

Environmental Sustainability Notes: Johnsonite Mesto Configurations, Microtone, Smooth or Raised Surface, Textured, and Prima Rubber Tile Johnsonite offers a RESTART reclamation program for returning jobsite scrap SCS FloorScore® Certified and meets California Specifications Section 01350 Phthalate, chlorine, and halogen-free NSF-332 Gold Certified C2C Certified Basic Johnsonite facilities are ISO 9001 and ISO 14001 Certified Possible LEED contributions for Johnsonite Mesto Configurations, Microtone, Smooth or Raised Surface, Textured, and Prima Rubber Tile Rubber Flooring include MR2; MR5; and EQ4.3 For all environmental sustainability information visit ecoScorecard on Johnsonite home page at www.tarkettna.com

        - Resilient Rubber Tile Flooring

          - Mesto Configurations Rubber Tile specify – Resilient Rubber Tile Flooring with the following physical characteristics:

Complies with requirements for ASTM F 1344 Standard Specification for Rubber Floor Tile, Type 1-A and 1-B.

Manufactured from a homogeneous composition of 100% synthetic rubber.

Overall thickness: .080" (2.0 mm)

Hammered texture tile tones:

Mesto Configurations (Medium Version)

Mesto Configurations (Light Version)

Mesto Configurations (Dark Version)

Hammered texture tile size:

Mesto Configurations

6" x 6" (15.2 cm x 15.2 cm).

12" x 12" (30.5 cm x 30.5 cm)

6" x 24" 15.2 cm x 61 cm)

12" x 24" (30.5 cm x 61 cm)

24" x 24" (61 cm x 61 cm)

ASTM D 2240 Standard Test Method for Rubber Property—Durometer Hardness: 85 Shore A

ASTM D 3389 Standard Test Method for Coated Fabrics Abrasion Resistance: < 1.00 gram weight loss.

ASTM D 2047, Standard Test Method for Static Coefficient of Friction of Polish-Coated Flooring: Exceeds Federal Standards and A.D.A. requirements for slip-resistant.

ASTM F 970, Standard Test Method for Static Load Limit – passes at 250 psi

ASTM E 648, Standard Test method for Critical Radiant Flux of Floor-Covering Systems Using a Radiant Heat Energy Source – equal to or greater than 0.45 watts/cm2

Johnsonite offers a RESTART reclamation program for returning jobsite scrap.

SCS FloorScore® Certified and meets California Specifications Section 01350.

Phthalate, chlorine and halogen-free

NSF-332 Gold Certified

C2C Certified Basic

Johnsonite facilities are ISO 9001 and ISO 14001 Certified.

Possible LEED contributions for Johnsonite Mesto Configurations Rubber Flooring include MR2; MR5; and EQ4.3.

            - For MESTO CONFIGURATIONS specify (MHO ____ [specify color by number and name(specify L for light tone or D for darker tone)] ____ [specify size])

MICROTONE Hammered Texture Speckled Rubber Tile specify – Resilient Rubber Tile Flooring with the following physical characteristics:

Complies with requirements for ASTM F 1344 Standard Specification for Rubber Floor Tile, Type 1-B

Manufactured from a homogeneous composition of 100% synthetic rubber.

Overall thickness: .080" (2.0 mm) and .125”

Tile size: 24" x 24" (61 cm x 61 cm)

ASTM F 1514 Standard Test Method for Measuring Heat Stability by Color Change: ∆ ∑ ≤ 8

ASTM D 2240 Standard Test Method for Rubber Property—Durometer Hardness: Not less than 85 Shore A

ASTM D 3389 Standard Test Method for Coated Fabrics Abrasion Resistance: < 1.00 gram weight loss

ASTM D 2047, Standard Test Method for Static Coefficient of Friction of Polish-Coated Flooring: Exceeds Federal Standards and A.D.A. requirements for slip-resistant.

ASTM F 970, Standard Test Method for Static Load Limit – passes at 250 PSI.

ASTM E 648, Standard Test method for Critical Radiant Flux of Floor-Covering Systems Using a Radiant Heat Energy Source – Class 1.

Johnsonite offers a RESTART reclamation program for returning jobsite scrap.

SCS FloorScore® Certified and meets California Specifications Section 01250.

Phthalate, chlorine and halogen free.

NSF-332 Gold Certified

C2C Certified Basic

Johnsonite facilities are ISO 9001 and ISO 14001 Certified.

Possible LEED contributions for Johnsonite Microtone Rubber Flooring include MR2; MR5; and EQ4.3.

            - For Microtone Rubber floor tile specify:

HNSP XX – Hammered Surface Rubber Floor Tile, specify 0.080" (2 mm) thickness, 24" x 24" (61 cm x 61 cm)

HRTSP XX - Hammered Surface Rubber Floor Tile, specify 0.125" (3.17 mm) thickness, 24" x 24" (61 cm x 61 cm)

FRPANSP XX – Rice Paper Surface Pattern Rubber Tile, specify 0.080" (2 mm) thickness, 24" x 24" (61 cm x 61 cm)

FRPASP XX - Rice Paper Surface Pattern Rubber Tile, specify 0.125" (3.17 mm) thickness, 24" x 24" (61cm x 61cm)

RTSP XX RD – Raised Round Disk Pattern Rubber Tile, specify 0.125" (3.17 mm) thickness, 24" x 24" (61cm x 61cm)

RTSP XX SQ – Raised Square Disk Pattern Rubber Tile, specify 0.125" (3.17 mm) thickness, 24" x 24" (61cm x 61cm)

BMRTSP XX – Bamboo Surface Pattern Rubber Tile, specify 0.125" (3.17 mm) thickness, 24" x 24" (61 cm x 61 cm)

CNSP XX – Diamond Surface Pattern Rubber Tile, specify 0.125" (3.17 mm) thickness, 24" x 24" (61 cm x 61 cm)

Minerality Leather Texture Rubber Tile specify – Resilient Rubber Tile Flooring with the following physical characteristics:

Complies with requirements for ASTM F 1344 Standard Specification for Rubber Floor Tile, Type 1-B

Manufactured from a homogeneous composition of 100% synthetic rubber.

Overall thickness:.125" (3.17 mm)

Tile size: 12" x 24" (30.5 cm x 61 cm)

Plank size: 6" x 48" (15.2 cm x 122 cm)

ASTM F 1514 Standard Test Method for Measuring Heat Stability by Color Change: ∆ ∑ ≤ 8

ASTM D 2240 Standard Test Method for Rubber Property—Durometer Hardness: Not less than 85 Shore A

ASTM D 3389 Standard Test Method for Coated Fabrics Abrasion Resistance: Passes less than 1 gram weight loss

ASTM D 2047, Standard Test Method for Static Coefficient of Friction of Polish-Coated Flooring: Exceeds Federal Standards and A.D.A. requirements for slip-resistant.

ASTM F 970, Standard Test Method for Static Load Limit – passes at 250 PSI.

ASTM E 648, Standard Test method for Critical Radiant Flux – Class 1.

Johnsonite offers a RESTART reclamation program for returning jobsite scrap.

SCS FloorScore® Certified and meets California Specifications Section 01250.

Phthalate, chlorine and halogen free.

NSF-332 Gold Certified

C2C Certified Basic

Johnsonite facilities are ISO 9001 and ISO 14001 Certified.

Possible LEED contributions for Johnsonite Minerality Rubber Flooring include MR2; MR5; and EQ4.3.

            - For Minerality Rubber floor tile specify:

MRLR____ [specify color by name and number] for Leather Texture Surface Rubber Floor Tile, 0.125" (3.17 mm) thickness, 12" x 24" (30.5 cm x 61 cm) or 6" x 48" (15.2 cm x 122 cm).

Smooth or Raised Surface Rubber Tile specify – Resilient Rubber Tile Flooring with the following physical characteristics:

Complies with requirements for ASTM F 1344 Standard Specification for Rubber Floor Tile, Type 1-A and 1-B.

Manufactured from a homogeneous composition of 100% synthetic rubber.

Disk Height for Raised Round or Raised Square specify: .025".

Overall thickness:

For Smooth Surface specify: .100" (2.54 mm) or .130" (3.30 mm) or [.125" (3.18 mm) for Landing Tiles only].

For Raised Round or Raised Square Surface specify: 1/8" [.125" (3.17 mm)] or .155 (4.mm).

Tile size: 24" x 24" (61 cm x 61 cm).

ASTM F 1514 Standard Test Method for Measuring Heat Stability by Color Change: ∆ ∑ ≤ 8

ASTM D 2240 Standard Test Method for Rubber Property—Durometer Hardness: 85 Shore A.

ASTM D 3389 Standard Test Method for Coated Fabrics Abrasion Resistance: < 1.00 gram weight loss.

ASTM D 2047, Standard Test Method for Static Coefficient of Friction of Polish-Coated Flooring: Exceeds Federal Standards and A.D.A. requirements for slip-resistant.

ASTM F 970, Standard Test Method for Static Load Limit – passes at 250 PSI.

ASTM E 989, Standard Classification for Rating Impact Insulation (IIC) using ASTM E 492, Acoustical Measurement of Impact Sound Transmission Through Floor-Ceiling Assemblies Using the Tapping Machine – 40 IIC.

ASTM E 648, Standard Test method for Critical Radiant Flux of Floor-Covering Systems Using a Radiant Heat Energy Source – equal to or greater than 0.45 watts/cm2.

Johnsonite offers a RESTART reclamation program for returning jobsite scrap.

SCS FloorScore® Certified and meets California Specifications Section 01350.

Phthalate, chlorine and halogen-free

NSF-332 Gold Certified

C2C Certified Basic

Johnsonite facilities are ISO 9001 and ISO 14001 Certified.

Possible LEED contributions for Johnsonite Rubber Flooring include MR2; MR5; and EQ4.3.

- For Smooth Accent Solid Color Tile specify (RET ____ [specify color by name and number] ___ [specify thickness{.100" (2.54 mm) or .130" (3.30 mm)}])

- For Smooth SURFACE Solid Color Tile specify (C ____ [specify color by name and number] ___ [specify thickness{.125" (3.18 mm) for Landing Tiles only}])

- For Raised Round Solid Color Tile specify (RT ____ [specify color by number and name] ___ [specify thickness] – RD)

- For Raised Round Speckled Color Tile specify (RTSP ____ [specify color by number and name] ___ [specify thickness] – RD)

- For Raised Square Solid Color Tile specify (RT ____ [specify color by number and name] ___ [specify thickness] – SQ)

- For Raised Square Speckled Color Tile specify (RTSP ____ [specify color by number and name] ___ [specify thickness] – SQ)

Textured Surface Rubber Tile specify – Resilient Rubber Tile Flooring with the following physical characteristics:

Complies with requirements for ASTM F 1344 Standard Specification for Rubber Floor Tile, Type 1-A and 1-B.

Manufactured from a homogeneous composition of 100% synthetic rubber.

Overall thickness: 1/8" [.125" (3.17 mm)].

Tile Size:

For Solid Color or Speckled Color Tile specify 24" x 24" (61 cm x 61 cm).

For Marbleized Prima Custom and Olio Color Tile specify 12" x 12" (30.5 cm x 30.5 cm).

Tile Textures:

Artistic Square

Bamboo

Brushed

Concrete

Cubis

Flagstone

Hammered

Leather

Rice Paper

Circulinity:

Effervescent

Fast Lane

Round-A-Bout

Tic-Tac-Toe

Tricycle

Folio:

Arbor

Bamboo Leaf

Botany

Branches

River Cane

Seasons

ASTM D 2240 Standard Test Method for Rubber Property—Durometer Hardness: 85 Shore A.

ASTM F 1514 Standard Test Method for Measuring Heat Stability by Color Change: ∆ ∑ ≤ 8

ASTM D 3389 Standard Test Method for Coated Fabrics Abrasion Resistance: < 1.00 gram weight loss.

ASTM D 2047, Standard Test Method for Static Coefficient of Friction of Polish-Coated Flooring: Exceeds Federal Standards and A.D.A. requirements for slip-resistant.

ASTM F 970, Standard Test Method for Static Load Limit – passes at 250 PSI.

ASTM E 989, Standard Classification for Rating Impact Insulation (IIC) using ASTM E 492, Acoustical Measurement of Impact Sound Transmission Through Floor-Ceiling Assemblies Using the Tapping Machine – 40 IIC.

ASTM E 648, Standard Test method for Critical Radiant Flux of Floor-Covering Systems Using a Radiant Heat Energy Source – equal to or greater than 0.45 watts/cm2.

Johnsonite offers a RESTART reclamation program for returning  jobsite scrap.

SCS FloorScore® Certified and meets California Specifications Section 01350.

Phthalate, chlorine and halogen-free

NSF-332 Gold Certified

C2C Certified Basic

Johnsonite facilities are ISO 9001 and ISO 14001 Certified.

Possible LEED contributions for Johnsonite rubber flooring include MR2; MR5; and EQ4.3.

- For Artistic Square Speckled COLOR specify (ARTSP ____ [specify color by number and name] ____ [specify size] ___ [specify thickness])

- For Bamboo Solid Color specify (BMRTS ____ [specify color by number and name] ____ [specify size] ____ [specify thickness])

- For Brushed specify (BMRTSP ____ [specify color by number and name] ____ [specify size] ___ [specify thickness])

- For Chopped Bamboo Speckled Color specify [CBMRTSP ____ (specify color by number and name] ____ [specify size] ___ [specify thickness])

- For Concrete specify [CBMRTSP ____ (specify color by number and name] ____ [specify size] ___ [specify thickness])

- For Cubis Solid Color specify (CRTS ____ [specify color by number and name] ____ [specify size] ___ [specify thickness])

- For Cubis Speckled Color specify (CRTSP ____ [specify color by number and name] ____ [specify size] ___ [specify thickness])

- For Flagstone Solid Color specify (FRTS ____ [specify color by number and name] ____ [specify size] ____ [specify thickness])

- For Flagstone Speckled Color specify (FRTSP ____ [specify color by number and name] ____ [specify size] ___ [specify thickness])

- For Hammered Solid Color specify (HRTS ____ [specify color by number and name] ____ [specify size] ____ [specify thickness])

- For Leather specify (HRTSP ____ [specify color by number and name] ____ [specify size] ___ [specify thickness])

- For PebbleS Speckled Color specify (PRTSP ___ [specify color by number and name] ____ [specify size] ___ [specify thickness])

- For Rice Paper Solid Color specify (FRPA ____ [specify color by number and name]

- For Weathered Speckled Color specify (WRTS ____ [specify color by number and name] ____ [specify size] ___ [specify thickness])

- For Circulinity Effervescent Solid Color specify (CEF ____ [specify color by number and name])

  - For Circulinity Fast Lane Solid Color specify (CFL ___ [specify color by number and name])

- For Circulinity Round-A-Bout Solid Color specify (CRB ____ [specify color by number and name])

- For Circulinity Tic-Tac-TOE Solid Color specify (CTT ____ [specify color by number and name])

- For Circulinity Tricycle Solid Color specify (CTR ____ [specify color by number and name])

- For Folio Arbor Solid Color specify (FARB ____ [specify color by number and name]

- For Folio Bamboo Leaf Solid Color specify (FBLF ____ [specify color by number and name]

- For Folio Botany Solid Color specify (FBOT ____ [specify color by number and name]

- For Folio Branches Solid Color specify (FBRN ____ [specify color by number and name]

- For Folio River Cane Solid Color specify (FRCN ____ [specify color by number and name]

- For Folio Seasons Solid Color specify (FSEA ____ [specify color by number and name]

Prima Olio and Prima Marbleized Tile specify – Resilient Rubber Tile Flooring with the following physical characteristics:

Complies with requirements for ASTM F 1344 Standard Specification for Rubber Floor Tile, Type 1-A and 1-B.

Manufactured from a homogeneous composition of 100% synthetic rubber.

Overall thickness: 1/8" [.125" (3.17 mm)].

Tile size: 12" x 12" (30.5 cm x 30.5 cm).

Tile Textures:

Smooth

Hammered

Rice Paper

ASTM D 2240 Standard Test Method for Rubber Property—Durometer Hardness: 85 Shore A.

ASTM F 1514 Standard Test Method for Measuring Heat Stability by Color Change: ∆ ∑ ≤ 8

ASTM D 3389 Standard Test Method for Coated Fabrics Abrasion Resistance: < 1.00 gram weight loss.

ASTM D 2047, Standard Test Method for Static Coefficient of Friction of Polish-Coated Flooring: Exceeds Federal Standards and A.D.A. requirements for slip-resistant.

ASTM F 970, Standard Test Method for Static Load Limit – passes at 250 PSI.

ASTM E 989, Standard Classification for Rating Impact Insulation (IIC) using ASTM E 492, Acoustical Measurement of Impact Sound Transmission Through Floor-Ceiling Assemblies Using the Tapping Machine – 40 IIC.

ASTM E 648, Standard Test method for Critical Radiant Flux of Floor-Covering Systems Using a Radiant Heat Energy Source – equal to or greater than 0.45 watts/cm2.

Johnsonite offers a RESTART reclamation program for returning  jobsite scrap.

SCS FloorScore® Certified and meets California Specifications Section 01350.

Phthalate, chlorine and halogen-free.

NSF-332 Gold Certified

C2C Certified Basic

Johnsonite facilities are ISO 9001 and ISO 14001 Certified.

Possible LEED contributions for Johnsonite Prima rubber flooring include MR2; MR5; and EQ4.3.

- For Smooth Prima COLOR specify (PRIMA ____ [specify by color number and name])

- For Smooth Olio COLOR specify (OLIO SMOOTH ____ [specify by color number and name])

- For Hammered Prima COLOR specify (HRTP ____ [specify by color number and name])

- For Hammered Olio COLOR specify (HRTPO ____ [specify by color number and name])

INSTALLATION MATERIALS

Trowelable Leveling and Patching Compounds: Latex-modified, Portland cement based or blended hydraulic-cement-based formulation.

Adhesives: As recommended by Johnsonite to meet site conditions.

Rubber Floor Tile

Johnsonite #965 Flooring and Tread Adhesive

Johnsonite #975 Two-Part Urethane Adhesive

Johnsonite #996 Two-Part Epoxy Adhesive

EXECUTION

EXAMINATION

Examine substrates, with Installer present, for compliance with requirements for maximum moisture content and other conditions affecting performance of the work.

Verify that finishes of substrates comply with tolerances and other requirements specified in other Sections and that substrates are free of cracks, ridges, depressions, scale, and foreign deposits that might interfere with adhesion of resilient products.

Proceed with installation only after unsatisfactory conditions have been corrected.

PREPARATION

Prepare substrates according to Johnsonite written instructions to ensure adhesion of Resilient Tile Flooring.

Verify that substrates are dry and free of curing compounds, sealers, and hardeners.

Remove substrate paint, coatings and other substances that are incompatible with adhesives or contain soap, wax, oil, solvents, or silicone, using mechanical methods recommended by manufacturer.  Do not use solvents.

Mechanically remove contamination on the substrate that may cause damage to the resilient flooring material. Permanent and non-permanent markers, pens, crayons, paint, etc., must not be used to write on the back of the flooring material or used to mark the substrate as they could bleed through and stain the flooring material.

Prepare Substrates according to ASTM F 710 including the following:

Moisture Testing: Perform tests recommended by manufacturer. Proceed with installation only after substrates pass testing.

Perform anhydrous calcium chloride test, ASTM F 1869.  Results must not exceed 5 lbs. Moisture Vapor Emission Rate per 1,000 sq. ft. in 24 hours.

– or –

Perform relative humidity test using in situ probes, ASTM F 2170. Must not exceed 80%.

A pH test for alkalinity must be conducted. Results should range between 7 and 9. If the test results are not within the acceptable range of 7 to 9, the installation must not proceed until the problem has been corrected.

Alkalinity and Adhesion Testing:  Perform tests recommended by manufacturer.

Wood subfloors must have a minimum 18" (45.7 cm) of cross-ventilated space beneath the bottom of the joist.

The floor must be rigid, free of movement.

Single wood and tongue and groove subfloors should be covered with ¼" (6.4 mm) or ½" (12.7 mm) APA approved underlayment plywood.

Use ¼" (6.4 mm) thick underlayment panels for boards with a face width of 3" (76 mm) or less.

Use ½" (12.7 mm) thick underlayment panels for boards with a face width wider than 3" (76 mm).

Do not install over OSB (Oriented Strand Board), particle board, chipboard, lauan or composite type underlayments.

Fill cracks, holes, depressions and irregularities in the substrate with good quality Portland cement based underlayment leveling and patching compound and remove bumps and ridges to produce a uniform and smooth substrate.

Floor covering shall not be installed over expansion joints.

Do not install resilient products until they are same temperature as the space where they are to be installed.

Move resilient products and installation materials into spaces where they will be installed at least 48 hours in advance of installation.

Sweep and vacuum clean substrates to be covered by resilient products immediately before installation.

RESILIENT TILE FLOORING INSTALLATION

Comply with manufacturer's written instructions for installing resilient tile flooring.

Resilient Rubber Floor Tile:

Install with Johnsonite adhesive specified for the site conditions and follow adhesive label for proper use.

Do not Quarter Turn tile.

Roll the flooring in both directions using a 100 pound three-section roller.

CLEANING AND PROTECTION

Comply with manufacturer's written instructions for cleaning and protection of resilient products.

Perform the following operations immediately after completing resilient product installation:

Remove adhesive and other blemishes from exposed surfaces.

Sweep and vacuum surfaces thoroughly.

Damp-mop surfaces to remove marks and soil.

Protect resilient products from mars, marks, indentations, and other damage from construction operations and placement of equipment and fixtures during remainder of construction period.

No traffic for 24 hours after installation.

No heavy traffic, rolling loads, or furniture placement for 72 hours after installation.

Wait 72 hours after installation before performing initial cleaning.

A regular maintenance program must be started after the initial cleaning.

END OF SECTION 09.65.19.33